## Sheet1
Name | IP Address
Usher Grd Floor | 10.106.84.1
Usher 4th Floor Electrical | 10.106.84.2
Usher 4th Floor Mechanical | 10.106.84.4
Sub-Station "A" KB ( Energy Centre) | 172.16.133.1
Geology | 172.16.133.10
Ashworth | 172.16.133.11
John Murray | 172.16.133.12
Sub-Station "B" KB - Sanderson | 172.16.133.2
Solar Farm | 172.16.133.20
0668 - William Rankine | 172.16.133.28
2702 - QMRI - East (Non Ess) | 172.16.133.29
Sub-Station "D" KB - JCMB | 172.16.133.3
2702 - QMRI - East (ESS) | 172.16.133.30
2702 - QMRI - Drum (Non ESS) | 172.16.133.31
2702 - QMRI - Drum (ESS) | 172.16.133.32
2702 - QMRI - West (Non ESS) | 172.16.133.33
2702 - QMRI - West (ESS) | 172.16.133.34
2702 - QMRI - Central (Non ESS) | 172.16.133.35
2702 - QMRI - Central (ESS) | 172.16.133.36
2702 - QMRI - Primary LV (West/Central) TX1 | 172.16.133.37
2702 - QMRI - Primary LV (West/Central) | 172.16.133.38
2702 - QMRI - Primary LV (East/Drum) | 172.16.133.39
Joseph Black | 172.16.133.4
Ashworth 2 | 172.16.133.5
Nucleus Building - 4th Floor Plantroom | 172.16.133.50
Sanderson | 172.16.133.6
Fleeming Jenkin | 172.16.133.7
Structures Lab | 172.16.133.8
John Muir | 172.16.133.9
Main Library PV | 172.16.134.35
0424 - Evo House/ECA Evo House Electrical Incomer | 172.16.134.41
ECA First Floor Electrical Switchroom | 172.16.134.43
JMCC - 0846 | 172.16.134.49
Energy Centre Endress & Hauser | 172.16.134.63
FloWave Ocean Research Building KB | 172.16.4.113
Roslin 2A - 1st Floor | 172.16.4.121
KB Nursery | 172.16.4.123
Roslin 2B | 172.16.4.124
Mary Bruck PV | 172.16.4.129
Centre Building - Basement | 172.16.4.132
HECToR 1 (Easter Bush) | 172.16.4.135
Roger Land | 172.16.4.148
0305 - Infirmary St - Controls | 172.16.4.149
Darwin Greenhouse | 172.16.4.151
JCMB - EUCS Electrical Plantroom | 172.16.4.154
Easter Bush Energy Centre | 172.16.4.173
Waddington | 172.16.4.192
EDSCCU(Equine Diagnostic, Surgical & Critical Care Unit) | 172.16.4.199
JCMB PV | 172.16.4.209
MEP Building | 172.16.4.219
Easter Bush Nursery | 172.16.4.222
Murchison House | 172.16.4.225
LARIF - External Switchroom | 172.16.4.238
IRR TRF Plantroom Module 1 | 172.16.4.250
IRR TRF Plantroom Module 2 | 172.16.4.251
IRR TRF Plantroom Module 3 | 172.16.4.252
Roslin Institute (EBRC) - Plantroom beside Genny | 172.16.4.47
New Easter Bush Vets School | 172.16.4.48
SCRM Little France - Beside Main LV Switchboard | 172.16.4.49
SCRM Little France - Beside DHW Control Panel | 172.16.4.50
Sub-Station "C" KB - Darwin | 172.16.4.59
Sub Station "E" KB - Cl/rooms | 172.16.4.62
Easter Bush - Small Animals Electric | 172.16.4.70
QMRI - Main Switchroom | 172.16.4.71
Peter & Mary Reading Lib.(LLRC) | 172.16.4.75
Archer/ACF | 172.16.4.92
HECToR 2 (Easter Bush) | 172.16.4.94
ACF - WCDI-2 | 172.16.5.36
ACF - WCDI-3 | 172.16.5.37
Old College (Talbot Rice) | 172.16.6.111
Old College (Law Basement) | 172.16.6.112
Charles Stewart House - Basement Secure Room B1.2 | 172.16.6.118
Minto House Main Electricity Incomer | 172.16.6.119
Pattersons Land Main Electricity No. 1 / No.2 | 172.16.6.121
Dalhousie Land Main Electricity | 172.16.6.122
St Johns Land Main Electricity | 172.16.6.123
Simon Laurie House Main Electricity | 172.16.6.124
Fleming House | 172.16.6.125
ECA Main Building - Electrical Incomer | 172.16.6.128
St Leonards Land Main Electricity | 172.16.6.129
ECCI Building | 172.16.6.131
Energy Centre | 172.16.6.150
Pleasance/Holyrood CHP 1 | 172.16.6.151
Charteris Land - Switchroom 1 | 172.16.6.152
9-11 Infirmary St | 172.16.6.154
High School Yards - Old Boilerhouse | 172.16.6.155
50 George Square | 172.16.6.156
Darroch Court | 172.16.6.168
Deaconess | 172.16.6.179
St Cecilias Hall | 172.16.6.194
Hugh Robson - Electrical Room | 172.16.6.196
WGH - Systems Medicine - Main LV Switchroom | 172.16.6.203
Medical School - Old Pump House | 172.16.6.204
New College/Mound | 172.16.6.213
Potterrow - Car Park | 172.16.6.219
Potterrow Basement | 172.16.6.220
Adam House - Main Incomer | 172.16.6.223
Appleton Tower - Basement Switchroom | 172.16.6.224
55-60 George Square | 172.16.6.226
Main Library - Chiller Plantroom | 172.16.6.230
Informatics | 172.16.6.232
Dugald Stewart | 172.16.6.233
68-72Pleasance | 172.16.6.237
Outreach GHI | 172.16.6.244
Outreach LM | 172.16.6.246
Patersons Land | 172.16.6.248
Dalhousie Land | 172.16.6.249
St Johns Land - Ground | 172.16.6.250
St Leonards Land | 172.16.6.255
Adam House | 172.16.6.44
46 Pleasance - New LV Switchboard | 172.16.6.45
30-34 Buccleuch Place | 172.16.6.48
Archers Hall/Asham | 172.16.6.62
Old College West - New Plantroom | 172.16.7.109
Old Surgeons Hall | 172.16.7.110
JMC Pollock CHP | 172.16.7.12
The Bayes Centre | 172.16.7.120
WGH - CJD Main Electric | 172.16.7.125
7 - 8 Chambers St | 172.16.7.144
John Burnett Plant | 172.16.7.177
Chancellors Court PV | 172.16.7.178
Charteris Land - Switchroom 2 | 172.16.7.228
Pentland House | 172.16.7.237
Bayes PV | 172.16.7.238
South Hall | 172.16.7.26
McEwan Hall | 172.16.7.36
Pollock South Substation | 172.16.7.45
1-7 Buccleuch Place | 172.16.7.47
Lister LTC - Learing & Training Centre | 172.16.7.54
Appleton Tower - Roof Chiller Plantroom | 172.16.7.61
WGH - WGH6QWTRCF(clinical) | 172.16.7.8
13-15 South College St | 172.16.7.9